Clinical consequences of computer-aided colorectal polyp detection

Sinonquel P, Eelbode T, Pech O, et al. Clinical consequences of computer-aided colorectal polyp detection. Gut 2024; 73: 1974-1983. doi:10.1136/gutjnl-2024-331943

Machine learning assisted endoscopy has been touted as a potential valuable tool for increasing adenoma detection rate for endoscopists. This paper utilised a machine learning model combining two techniques of a traditional convolutional neural network (CNN) with a recurrent neural network (RNN). The RNN component allows analysis of preceding visual frames to reduce the false positive rate compared to a conventional CNN by over 50%. The model was trained on images from 825 polyps from 205 different patients.

Sinonquel et al., analysed the performance of their computer aided detection (CAD) algorithm in 1,175 patients across nine different European sites by having a second endoscopist having real time access to the CAD output. There was no communication between the two endoscopists unless the CAD flagged a potential polyp missed by the primary endoscopist.

A total of 2,141 lesions were identified with no significant sensitivity difference between human and CAD, although when histology was used as the gold standard rather than visual detection, CAD had a small, but significant increased sensitivity of 96.9% compared to 95.1%. The CAD model flagged on average 28 false positive potential polyps per patient with 36% of those false positives not being immediately dismissible as non-neoplastic. The CAD system overall increased adenoma detection rate by 5.1% with particular benefit for endoscopists with lower detection rates.

The small additional yield for the price of equipment and potential distraction may not make CAD a viable investment at present, but Sinonquel et al., have demonstrated CAD has largely now reached parity with human endoscopists in terms of sensitivity for visual detection of colorectal polyps.